Graphical user interface, logo

Description automatically generatedImperial County Public Health Department - Division of Environmental Health

Point of Entry Pilot Project- P#’s

**Table of Contents**

**P-242**

**P-253**

**P-264**

**P-275**

**P-286**

**P-297**

**P-308**

**P-319**

**P-3310**

**P-3411**

**P-3512**

**P-3613**

**P-3714**

**P-3815**

**P-3916**

**P-4017**

**P-4118**

**P-4319**

**P-4420**

**POE System: P-24**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Location | Total Coliform MPN/100mL | e.Coli  MPN/100mL | Comments |
| 1/24/2022 | Filtered Water | Absent | Absent |  |
| 2/15/2022 | Filtered Water | Absent | Absent |  |
| 3/24/2022 | Filtered Water | Absent | Absent |  |
| 4/21/2022 | Filtered Water | Absent | Absent |  |
| 5/19/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Unfiltered Water | 1046.2 | 35.9 | Quarterly Sample |
| 7/18/2022 | Filtered Water | Absent | Absent |  |
| 8/17/2022 | Filtered Water | Present | Absent |  |
| 8/23/2022 | Filtered Water | Absent | Absent | Resample |
| 10/27/2022 | Filtered Water | Absent | Absent |  |
| 9/21/2022 | Filtered Water | Absent | Absent |  |
| 11/16/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Unfiltered Water | 686.7 | 2 | Quarterly Sample |
| 12/19/2022 | Filtered Water | Present | Present |  |
| 12/21/2022 | Filtered Water | Absent | Absent | Resample |
| 1/23/2023 | Filtered Water | Absent | Absent |  |
| 2/23/2023 | Filtered Water | Absent | Absent |  |
| 3/13/2023 | Filtered Water | Absent | Absent |  |
| 3/28/2023 | Unfiltered Water | 325.5 | 3.1 | Quarterly Sample |
| 4/20/2023 | Filtered Water | Absent | Absent |  |

**Annual Chemical Samples**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Nitrate | Alachlor | Atrazine | Molinate | Simazine | Thiobencarb | Glyphosate |
| 1/23/23 | .22 mg/L | ND | ND | ND | ND | ND | ND |

**POE System:** **P-25**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 1/31/2022 | Filtered Water | Absent | Absent |  |
| 2/14/2022 | Filtered Water | Absent | Absent |  |
| 3/22/2022 | Filtered Water | Present | Absent |  |
| 3/24/2022 | Filtered Water | Present | Absent | Resample |
| 3/30/2022 | Filtered Water | Absent | Absent | Resample |
| 3/22/2022 | Unfiltered Water | 686.7 | 1 | Quarterly Sample |
| 4/18/2022 | Filtered Water | Absent | Absent |  |
| 5/16/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Unfiltered Water | >2419.2 | 20.1 | Quarterly Sample |
| 7/20/2022 | Filtered Water | Absent | Absent |  |
| 8/16/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Unfiltered Water | 2419.2 | 8.14 | Quarterly Sample |
| 10/20/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/24/2023 | Filtered Water | Absent | Absent |  |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Unfiltered Water | 209.8 | 2 | Quarterly Sample |
| 4/19/2023 | Filtered Water | Absent | Absent |  |

**Annual Chemical Samples**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Nitrate | Alachlor | Atrazine | Molinate | Simazine | Thiobencarb | Glyphosate |
| 1/24/2023 | ND | ND | ND | ND | ND | ND | ND |

**POE System: P-26**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 2/10/2022 | Filtered Water | Absent | Absent |  |
| 3/22/2022 | Filtered Water | Absent | Absent |  |
| 4/18/2022 | Filtered Water | Present | Absent |  |
| 4/20/2022 | Filtered Water | Absent | Absent | Resample |
| 5/17/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Unfiltered Water | >2419.2 | 5.2 | Quarterly Sample |
| 7/19/2022 | Filtered Water | Absent | Absent |  |
| 8/17/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Unfiltered Water | 83.3 | 3.1 | Quarterly Sample |
| 10/20/2022 | Filtered Water | Absent | Absent |  |
| 11/22/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/25/2023 | Filtered Water | Absent | Absent |  |
| 2/22/2023 | Filtered Water | Absent | Absent |  |
| 3/29/2023 | Filtered Water | Lab Error | Lab Error | Mishandled Specimen |
| 4/26/2023 | Filtered Water | Absent | Absent |  |

**Annual Chemical Samples**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Nitrate | Alachlor | Atrazine | Molinate | Simazine | Thiobencarb | Glyphosate |
| 2/22/2023 | ND | ND | ND | ND | ND | ND | ND |

**POE System: P-27**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 2/10/2022 | Filtered Water | Present | Absent |  |
| 2/14/2022 | Filtered Water | Absent | Absent | Resample |
| 3/24/2022 | Unfiltered Water | 18.7 | Absent | Quarterly Samples |
| 3/24/2022 | Filtered Water | Present | Absent |  |
| 3/28/2022 | Filtered Water | Absent | Absent | Resample |
| 4/21/2022 | Filtered Water | Absent | Absent |  |
| 5/19/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Unfiltered Water | >2419.2 | 7.5 | Quarterly Samples |
| 7/20/2022 | Filtered Water | Absent | Absent |  |
| 8/16/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Unfiltered Water | 1119.9 | 7.5 | Quarterly Samples |
| 9/15/2022 | Filtered Water | Absent | Absent |  |
| 10/20/2022 | Filtered Water | Absent | Absent |  |
| 11/29/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Unfiltered Water | 10.9 | Absent | Quarterly Samples |
| 1/12/2023 | Filtered Water | Absent | Absent |  |
| 2/22/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 9.8 | Absent | Quarterly Samples |
| 3/27/2023 | Filtered Water | Absent | Absent |  |
| 4/19/2023 | Filtered Water | Absent | Absent |  |

**Annual Chemical Samples**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Nitrate | Alachlor | Atrazine | Molinate | Simazine | Thiobencarb | Glyphosate |
| 2/22/2023 | .32 | ND | ND | ND | ND | ND | ND |

**POE System: P-28**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 1/24/2022 | Filtered Water | Absent | Absent |  |
| 2/14/2022 | Filtered Water | Absent | Absent |  |
| 3/22/2022 | Filtered Water | Absent | Absent |  |
| 3/22/2022 | Unfiltered Water | 1046.2 | Absent | Quarterly Samples |
| 4/19/2022 | Filtered Water | Absent | Absent |  |
| 5/17/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Unfiltered Water | 12 | Absent | Quarterly Samples |
| 7/19/2022 | Filtered Water | Absent | Absent |  |
| 8/18/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Unfiltered Water | 35.9 | Absent | Quarterly Samples |
| 10/26/2022 | Filtered Water | Absent | Absent |  |
| 11/21/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/24/2023 | Filtered Water | Absent | Absent |  |
| 2/15/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 1553.1 | 1 | Quarterly Samples |
| 4/26/2023 | Filtered Water | Absent | Absent |  |

**Annual Chemical Samples**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Nitrate | Alachlor | Atrazine | Molinate | Simazine | Thiobencarb | Glyphosate |
| 1/24/2023 | ND | ND | ND | ND | ND | ND | ND |

**POE System: P-29**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 4/22/2022 | Filtered Water | Absent | Absent |  |
| 5/17/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Unfiltered Water | 1046.2 | 2 | Quarterly Samples |
| 6/22/2022 | Filtered Water | Absent | Absent |  |
| 7/19/2022 | Filtered Water | Absent | Absent |  |
| 8/18/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Unfiltered Water | 816.4 | 238.2 | Quarterly Samples |
| 10/24/2022 | Filtered Water | Absent | Absent |  |
| 11/22/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Unfiltered Water | 686.7 | 1 | Quarterly Samples |
| 12/19/2022 | Filtered Water | Absent | Absent |  |
| 1/12/2023 | Filtered Water | Absent | Absent |  |
| 2/15/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 686.7 | Absent | Quarterly Samples |
| 4/25/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-30**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 4/25/2022 | Filtered Water | Absent | Absent |  |
| 5/16/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Unfiltered Water | 325.5 | 44.1 | Quarterly Samples |
| 6/22/2022 | Filtered Water | Present | Absent |  |
| 6/24/2022 | Filtered Water | Absent | Absent | Resample |
| 7/20/2022 | Filtered Water | Absent | Absent |  |
| 8/18/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Unfiltered Water | >2419.2 | >2419.2 | Quarterly Samples |
| 9/15/2022 | Filtered Water | Present | Present |  |
| 10/20/2022 | Filtered Water | Present | Absent | Resample |
| 10/25/2022 | Filtered Water | 6.3 | Absent | Quarterly Sample |
| 11/15/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/12/2023 | Filtered Water | Present | Absent |  |
| 1/17/2023 | Filtered Water | Absent | Absent | Resample |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 4/25/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-31**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 5/16/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Filtered Water | Absent | Absent |  |
| 6/22/2022 | Unfiltered Water | 387.3 | Absent | Quarterly Sample |
| 7/20/2022 | Filtered Water | Absent | Absent |  |
| 8/18/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Unfiltered Water | 81.6 | Absent | Quarterly Sample |
| 10/20/2022 | Filtered Water | Absent | Absent |  |
| 11/22/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/12/2023 | Filtered Water | Absent | Absent |  |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 727 | 2 | Quarterly Sample |
| 4/25/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-33**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 6/14/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Unfiltered Water | 66.3 | Absent | Quarterly Samples |
| 6/23/2022 | Filtered Water | Absent | Absent |  |
| 7/18/2022 | Filtered Water | Absent | Absent |  |
| 8/17/2022 | Filtered Water | Absent | Absent |  |
| 9/21/2022 | Filtered Water | Absent | Absent |  |
| 10/27/2022 | Filtered Water | Absent | Absent |  |
| 11/16/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Filtered Water | Present | Absent |  |
| 12/19/2022 | Unfiltered Water | 184.2 | 1 | Quarterly Samples |
| 12/21/2022 | Filtered Water | Absent | Absent | Resample |
| 1/23/2023 | Filtered Water | Absent | Absent |  |
| 2/23/2023 | Filtered Water | Present | Absent |  |
| 3/1/2023 | Filtered Water | Absent | Absent | Resample |
| 3/13/2023 | Filtered Water | Absent | Absent |  |
| 3/28/2023 | Unfiltered Water | 41 | Absent | Quarterly Samples |
| 4/20/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-34**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 6/23/2022 | Filtered Water | Absent | Absent |  |
| 6/23/2022 | Unfiltered Water | 1732.9 | 5.2 | Quarterly Samples |
| 7/19/2022 | Filtered Water | Present | Absent |  |
| 7/21/2022 | Filtered Water | Absent | Absent | Resample |
| 8/16/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Present | Present |  |
| 9/13/2022 | Unfiltered Water | 1299.7 | 29.2 | Quarterly Samples |
| 9/15/2022 | Filtered Water | Absent | Absent | Resample |
| 10/26/2022 | Filtered Water | Absent | Absent |  |
| 11/29/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/24/2023 | Filtered Water | Absent | Absent |  |
| 2/15/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 165 | Absent | Quarterly Samples |
| 3/24/2023 | Filtered Water | Absent | Absent |  |
| 4/26/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-35**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 9/15/2022 | Filtered Water | Absent | Absent |  |
| 9/15/2022 | Unfiltered Water | 2419.2 | Absent | Quarterly Samples |
| 10/20/2022 | Filtered Water | Present | Absent |  |
| 10/25/2022 | Filtered Water | Absent | Absent | Resample |
| 11/22/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/12/2023 | Filtered Water | Absent | Absent |  |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 686.7 | 3.1 | Quarterly Samples |
| 4/19/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-36**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 7/7/2022 | Filtered Water | Absent | Absent |  |
| 7/19/2022 | Filtered Water | Present | Absent |  |
| 7/21/2022 | Filtered Water | Absent | Absent | Resample |
| 8/16/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Unfiltered Water | 72.7 | Absent | Quarterly Sample |
| 10/26/2022 | Filtered Water | Absent | Absent |  |
| 11/21/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 1/24/2023 | Filtered Water | Present | Absent |  |
| 1/27/2023 | Filtered Water | Absent | Absent | Resample |
| 2/15/2023 | Filtered Water | Absent | Absent |  |
| 3/15/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 12.2 | Absent | Quarterly Sample |
| 4/26/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-37**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 8/8/2022 | Filtered Water | Absent | Absent |  |
| 8/30/2022 | Filtered Water | Absent | Absent |  |
| 9/26/2022 | Filtered Water | Absent | Absent |  |
| 9/26/2022 | Unfiltered Water | 980.4 | 2 | Quarterly Samples |
| 10/27/2022 | Filtered Water | Absent | Absent |  |
| 11/21/2022 | Filtered Water | Absent | Absent |  |
| 12/21/2022 | Filtered Water | Absent | Absent |  |
| 12/21/2022 | Unfiltered Water | 23.1 | Absent | Quarterly Samples |
| 1/25/2023 | Filtered Water | Absent | Absent |  |
| 2/28/2023 | Filtered Water | Absent | Absent |  |
| 3/29/2023 | Filtered Water | Present | Absent |  |
| 3/26/2023 | Unfiltered Water | 21.6 | Absent | Quarterly Samples |
| 4/26/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-38**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 3/22/2022 | Filtered Water | Absent | Absent |  |
| 9/14/2022 | Filtered Water | Absent | Absent |  |
| 9/28/2022 | Filtered Water | Present | Absent |  |
| 9/28/2022 | Unfiltered Water | 2419.2 | 4.1 | Quarterly Sample |
| 10/27/2022 | Filtered Water | Absent | Absent |  |
| 11/16/2022 | Filtered Water | Absent | Absent |  |
| 12/19/2022 | Unfiltered Water | 151.5 | Absent | Quarterly Sample |
| 12/19/2022 | Filtered Water | Absent | Absent |  |
| 1/23/2023 | Filtered Water | Absent | Absent |  |
| 2/23/2023 | Filtered Water | Absent | Absent |  |
| 3/13/2023 | Filtered Water | Absent | Absent |  |
| 3/28/2023 | Unfiltered Water | 248.1 | 2 | Quarterly Sample |
| 4/20/2023 | Filtered Water | Present | Present |  |
| 4/25/2023 | Filtered Water | Absent | Absent | Resample |

**POE System: P-39**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 6/29/2022 | Unfiltered Water | Absent | Absent |  |
| 8/30/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Filtered Water | Absent | Absent |  |
| 9/13/2022 | Unfiltered Water | 135.4 | 10.9 | Quarterly Sample |
| 10/20/2022 | Filtered Water | Absent | Absent |  |
| 11/22/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Filtered Water | Absent | Absent |  |
| 12/12/2022 | Unfiltered Water | 5.2 | Absent | Quarterly Sample |
| 1/12/2023 | Filtered Water | Present | Absent |  |
| 1/17/2023 | Filtered Water | Absent | Absent |  |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 58.6 | Absent | Quarterly Sample |
| 4/19/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-40**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 12/5/2022 | Filtered Water | Absent | Absent |  |
| 1/25/2023 | Filtered Water | Absent | Absent |  |
| 2/27/2023 | Filtered Water | Absent | Absent |  |
| 3/29/2023 | Unfiltered Water | 435.2 | 20.3 | Quarterly Sample |

**POE System: P-41**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 1/27/2023 | Filtered Water | Absent | Absent |  |
| 2/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Filtered Water | Absent | Absent |  |
| 3/9/2023 | Unfiltered Water | 488.4 | Absent | Quarterly Sample |
| 4/19/2023 | Filtered Water | Present | Absent |  |
| 4/20/2023 | Filtered Water | Absent | Absent | Resample |

**POE System: P-43**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 2/23/2023 | Filtered Water | Absent | Absent |  |
| 3/13/2023 | Filtered Water | Absent | Absent |  |
| 3/27/2023 | Unfiltered Water | 209.8 | 2 | Quarterly Sample |
| 4/20/2023 | Filtered Water | Absent | Absent |  |

**POE System: P-44**

**Bacteriological Samples**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Sample Port | Total Coliform | e.Coli | Comments |
| 3/20/2023 | Filtered Water | Absent | Absent |  |
| 4/25/2023 | Filtered Water | Absent | Absent |  |